## Slide 1
  Thermal Performance of Radiant Floor Cooling With Phase Change Material For an Energy Efficient Building.
Notes: الأداء الحراري للتبريد الأرضي المشع مع مادة تغيير الطور لمبنى موفر للطاقة.

## Slide 2
Prof. Dr. Najm Abd Jasim.
Ph.D.Student: Qusay Kamil Jasim.

## Slide 3
1
To Evaluate the energy and thermal performance of a (RCS) with integrated PCMs for an energy efficient building.
2
To shift the energy from night time to peak time it is required to store thermal energy by using an indoor Thermal Energy Storage (TES).
3
Comparison between the two test rooms thermal performance by using with/without phase change materials.
4
The use of a hybrid system, which is a combination of several integrated systems to provide energy and convert it to cool the space, such as a solar system.
OBJECTIVES

## Slide 4
5
Temperature distribution of room test during daily time with/without phase change materials.
6
Improvement thermal performance of PV panels.
7
Improvement Coefficient of performance of A/C.
8
simulate the proposed system using suitable energy software.
OBJECTIVES

## Slide 5
Chart: 
| 186 PAPER | 114 PAPER
المبيعات | 8.2 | 3.2
APPLICATIONS IN BUILDINGS
WALLS 2)ROOFS
3)FLOORS 4)COMBIND
Chart: 
| Walls | Roofs | Floors | Combind
سلسلة1 | 33 | 27 | 13 | 18

## Slide 7
Current work
Theoretical
Experimental

## Slide 8
Theoretical Part
1
Ansys Fluent for TES.
2
HAP for A/C System
3
MATLAB simulation for PV panels

## Slide 9
Counter-flow
Spiral-flow

## Slide 10
Governing Equations
Continuity Equation
2) Momentum Equations
where μ is the viscosity of the PCM, P is the pressure, the vector is a global source term is given by the following form:
  The value of the liquid fraction, (β), is
3) Energy equation
The connection between enthalpy and temperature of PCM is as follows:

## Slide 11
MESH GEN.

## Slide 12
Experimental part

## Slide 13
1
Two Test Room(TTR)
2
Thermal Energy Storage(TES)
3
Phase change material(PCM)
4
Solar system(SS)
5
Air-Condition Unit(A/C) & Evaporator Air- Cooler(EAC)
EXPERIMANTAL SET UP

## Slide 15
Two Test Room(TTR)
200cm
295cm
2.95m
2.95m
60cm
90cm
90cm
Test Room:( 2.95x2.95x2.25m)

## Slide 16
Counter-flow
Spiral-flow

## Slide 17
Phase change material(PCM)
PCM: Paraffin wax
Property | Measure
Melting Point | 48 °C
Oil Content | 1.5 %
Color | Cay bolt (min)
Specific Heat | 2.1kJ/kg.°C
Thermal Conductivity | 0.2W/m.k
Density | 880 kg/m3
Enthalpy of Fusion | 210kJ/kg
Phase Change Material (PCM) is a substance that releases or absorbs enough energy to generate useful heat or cooling at a phase transition. Paraffin wax is one of the most important organic materials, as its melting temperature ranges between 20 - 70 degrees Celsius. Paraffin is considered one of the safe materials, and it has a low thermal conductivity, especially the materials in its solid state. The table (1) shows the properties of the paraffin wax used.
Notes: هي مادة صلبة ناعمة في درجة حرارة الغرفة مشتقة من النفط أو الفحم الصيغة الكيميائية العامة هي (CnH2n + 2). اشتق اسم (برافين) من كلمة "parum" اللاتينية والتي تعني (بالكاد أو نادرًا) وكلمة "affinis" التي تعني «قليل التفاعل» في إشارة إلى طبيعة هذا الشمع الخاملة غير القابلة للتفاعل يستعمل البرافين في العزل الكهربائي والمنتجات المطاطية صناعة الشمع والتشحيم وفي تلميع الجلود. شمع البارافين مادة ممتازة لتخزين الحرارة، له سعه حرارية تتراوح من 2.14 إلى 2.9 (جول لكل غرام كلفن).

## Slide 18
Solar system(SS)
Wood Frame
PV Panel
Properties of PV Panel
Invertor

## Slide 19
Air-Condition Unit(A/C) & Evaporator Air- Cooler(EAC)
Brand | Midea, made in P.R.C
(Cooling – Heating) Capacity | (12500 – 13000) Btu/hr
Operating Pressure Limits (Discharge – Section) | (3-1) Mpa
Refrigerant, Mass | R-22, 0.83 kg
Power Source | 220-240V~ - 50Hz, 1Ph
Cooling Rating (Current – Power) | 5.6A – 1290W
Heating Rating (Current – Power) | 5.1A – 1175W
Maximum Rating (Current – Power) | 10A – 2000W

## Slide 20
Different Testes Cases .
Without Using Phase Change Materials.
Cooled the test room by A/C with effect of thermal extraction from floor by cold water resulted from evaporative cooling while A/C's condenser is cooled by waste cold air resulted from evaporative cooling.
Cooled the test room by A/C with effect of thermal extraction from roof by cold water resulted from evaporative cooling while A/C outdoor unit is not cooled by air.
Is the test room cooled by A/C, neither floor nor A/C outdoor cooling.
Test 1
Test 2
Test 3

## Slide 21
Different Testes Cases .
WithUsing Phase Change Materials.
Waste air resulted from evaporative cooling won't cool the PV panels.
Waste air resulted from evaporative cooling will cool the PV panels.
Test 4
Test 5

## Slide 22
Thank you for your listening