## Slide 1: Quantitative Real time PCR
Presented by
Lecturer Dr Aminah Ali Abid Al-Juboori
College of Pharmacy, University of Baghdad

## Slide 2: Content
PCR and in vivo DNA replication
Protocol steps and component involved in the PCR
RT-PCR (Reverse Transcription-Polymerase Chain Reaction)
RT-PCR (Real Time-Polymerase Chain Reaction)
Applications of PCR

## Slide 3
PCR
In vitro enzymatic DNA replication technique
Used to amplify (make multiple copies) a specific DNA segment of interest.
Multiple rounds of amplification of DNA using template DNA, specific primers and the enzyme DNA dependent DNA polymerase
Products of the previous rounds used as template for the subsequent rounds, hence chain reaction

## Slide 4
Overview of DNA Replication (in vivo)

## Slide 5
 | DNA Replication | PCR
Place for DNA polymerase to attach to DNA strand | RNA:DNA | DNA:DNA
Separates the two strands of DNA | Helicase | Heat
Name of enzyme that elongates new strand of DNA | DNA polymerase | Taq DNA polymerase
What the primers are made out of (DNA or RNA?) | RNA | DNA

## Slide 6
Steps Involved in the PCR
Denaturation: 950C/ dsDNA into separate strands
Annealing: 55-650C/ Anneal primers to flanking regions of single stranded DNA . Also extends the primer at a slow rate.
Extension: 720C/ Extends primers with DNA polymerase
5’
5’
5’
5’
3’
3’
3’
3’
5’
5’
5’
5’
3’
3’
3’
3’
5’
5’
3’
5’
5’
3’
3’
3’
Repeat cycle for 30-40 times

## Slide 7
PCR protocol example
annealing
95ºC
95ºC
60ºC
72ºC
4ºC
3 min
10 s
15 sec
30 sec
hold
Initial denaturation
of DNA
1X
35X
1X
extension
denaturation

## Slide 10
1st cycle of PCR

## Slide 11
2nd cycle of PCR

## Slide 12
3rd cycle onwards
Short product -
accumulates in an
exponential manner

## Slide 15
Template DNA
50-100 ng of pure DNA; Should be free of proteins and lipids
Can be isolated from blood, tissues, cultured cells, hair and so on...
Taq Polymerase (Thermostable DNA Polymerase)
DNA dependent DNA polymerase derived from Thermus aquaticus
Half life of 45 minutes at 950C .
Extension rate: 2kb-4kb/min
Processivity: 50-60 bases
Why is Taq so stable?
a. Increased hydrophobicity of the core of the enzyme
b. Improved stabilization of electrostatic forces
Components of PCR

## Slide 16
PCR before Taq and thermal cyclers
Initially PCR used the Klenow fragment of E. coli DNA polymerase - inactivated by high temperatures
95º C
5 min
35 times
55º C
3 min
72º C
5 min
DNA polymerase

## Slide 17
Primer pair:
Oligonucleotides, 18-25 in length usually.
Complementary to flanking sequences on template
No complementarity between forward and reverse primers as well as no self complementarity within a primer
Forward and Reverse primers should have Tm within 30C of each other
GC content of primers should be 40-60 %
Components of PCR

## Slide 18
short sequence of artificially synthesized oligonucleotides which binds to a specific region in the DNA.
directionality of binding
sense-antisense
directionality of reading/scanning : 3’to 5’
directionality of synthesis : 5’ to 3’

## Slide 19
Buffer:
Tris-Cl buffer to maintain the pH. Usually contains divalent cations like Mg2+ which is a cofactor for Taq polymerase.
dNTPs:
Equimolar concentrations of dATP, dCTP, dGTP and dTTP are used.
Components of PCR
The ideal pH of Tris-Cl buffer for PCR is 8.4.
For long templates, a higher pH (pH 9.0) is suggested.

## Slide 20
PCR machines or thermal cyclers are used to vary the temperatures cyclically thus helping in automation of the process.
PCR tubes: thin walled plastic tubes or plates
Components of PCR

## Slide 21
Confirmation of a successful PCR
What information do we derive from the above image ?
Specificity of PCR
Presence/absence of disease
Quantitation
Importance of controls

## Slide 22
Two types of tem RT-PCR

## Slide 23
Reverse Transcription
Reverse transcriptase – Present in retroviruses like HIV; Converts RNA to DNA (known as cDNA).
Enzyme used for Reverse transcription is usually MMLV RT/AMV RT (Moloney strain of murine leukemia virus reverse transcriptase/ Avian myeloblastosis virus)
RNA dependent DNA polymerase
Reverse transcription is done at 37-420C using DNA primers like oligo dT or random hexamers or gene specific primers.

## Slide 24
Reverse transcriptase reaction – Priming strategies
Converts all RNA to cdNA
Converts mRNA to cdNA
Converts specific RNA to cdNA

## Slide 25
RT-PCR

## Slide 28
Applications of RT PCR
Used in detection/quantitation of RNA viruses e.g. HIV viral load
To study mRNA expression levels in cells, tissues.
To study for the presence of active infection e.g. TB
HIV p24
RNA isolated from blood of 4 suspected HIV patients
Reverse Transcription using 500 ng of RNA from all suspected patients
PCR for HIV p24
(400 bp amplicon)
25 cycles

## Slide 29
Real time PCR

## Slide 30
Principle Real time PCR

## Slide 31
Real time PCR

## Slide 32
(Initial)
(Initial)
CT value = Represents how many PCR cycles are required for the sample fluorescence to reach the threshold level.
Threshold level of fluorescence = fluorescence level is above background = detectable
Ct value is determined by initial amount of template in sample

## Slide 33
Real time PCR
Traditional PCR has advanced from detection at the end-point of the reaction to detection while the reaction is occurring (Real-Time).
Real-time PCR uses a fluorescent reporter signal to measure the amount of amplicon as it is generated. This kinetic PCR allows for data collection after each cycle of PCR instead of only at the end of the 20 to 40 cycles.

## Slide 47
Advantages of Real Time PCR
Amplification can be monitored in real time
Specificity and sensitivity
Detection is capable down to < 2-fold change
No post run processing of products
Confirmation of specific amplification by melt curve analysis

## Slide 48
Limitations of Real Time PCR
Setting up requires high technical skill and support
High equipment cost
Average change in gene expression
Assumptions: housekeeping gene is constantly expressed
Change in mRNA level might not reflect change in protein level

## Slide 49
Basic Biomedical Research
Amplifying specific DNA for downstream applications like
Cloning and expression of recombinant proteins
Diagnosis of genetic diseases
Sickle cell anemia (normal, carrier, diseased)
Infectious diseases diagnosis
Mycobacterium tuberculosis – infection/drug resistance
HIV – RT-PCR
Applications of PCR

## Slide 50
Cancer biology
BRCA1 mutation, BCR-ABL translocations
Gene expression
Evolutionary Studies
DNA from fossils PCR amplified, sequenced and analyzed for homology
Forensics
Crime Scene Investigation
Paternity testing
Applications of PCR

## Slide 51: Reference
Yasumasa Kimura et al. Optimization of turn-back primers in isothermal amplification (http://www.ncbi.nlm.nih.gov/pmc/articles/PMC3089485/
R. Manojkumar and Mrudula Varanat(2006) Polymerase Chain Reaction: Types and Its Application in theField of Biology. International journal of tropical medicine 1 (4):156-161
Voet,D, Voet,J. Biochemistry Vol.1 3rd ed.
Alberts, Johnson, Lewis. Molecular Biology of The Cell 4th ed.
Introduction to Plant Biotechnology By- H.S. Chawala
http://arbl.cvmbs.colostate.edu/hbooks/genetics/biotech/enzymes/hotpolys.html
http://www.pubmedcentral.nih.gov/articlerender.fcgi?artid=146123&rendertype=abstract
http://www.fermentas.com/techinfo/pcr/dnaamplprotocol.htm
http://www.fermentas.com/techinfo/pcr/pcrprotocolpfu.htm

## Slide 52
THANK YOU