Abstract

The MIC, or minimum inhibitory concentration, is the lowest concentration (in μg/mL) of an antibiotic that inhibits the growth of a given strain of bacteria. The choice of antibiotic should be based on the MIC number, the site of infection, and an antibiotic’s breakpoint, Kirby-Bauer testing could not tell the clinician the exact concentration of antibiotic needed to achieve a therapeutic result. The VITEK® 2 used in all our microbiology laboratories, supports rapid and accurate quantitative antibiotic susceptibility test (AST) reporting, including minimum inhibitory concentration (MIC), The VITEK 2 system has everything healthcare laboratories need for fast, accurate microbial identification, and antibiotic susceptibility testing, The MIC is determined by comparing the growth of the patient isolate to the growth of isolates with known MICs. It is like having a standard curve stored in the VITEK® 2, where the standard curve relates reference MICs to organism activity in the antibiotic wells.